## DustTrak 22.1txt
TrakPro Version 3,6,2 ASCII Data File
Model: | Dust Trak
Model Number: | 8520
Serial Number: | 85201790
Test ID: | 144:00
Test Abbreviation:
Start Date: | 22,01,2009
Start Time: | 9:18
Duration (dd:hh:mm:ss): | 00:07:38:00
Time constant (seconds): | 240:00
Log Interval (mm:ss): | 1:00
Number of points: | 10992:00
Notes:
Statistics | Channel: | Aerosol
| Units: | mg/m^3
| Average: | 0.006
| Minimum: | 0.002
| Time of Minimum: | 16:39
| Date of Minimum: | 22,01,2009
| Maximum: | 0.016
| Time of Maximum: | 10:20
| Date of Maximum: | 22,01,2009
Calibration | Sensor: | Aerosol
| Cal, date | 25,06,2007
Date | Time | Aerosol
dd,MM,yyyy | hh:mm:ss | Massapitoisuus, µg/m3 |  | Max ap | Min AP | Max ip | Min ip | Keskiarvo | Keskiarvo
|  |  |  | 16 | 6 | 9 | 2 | 9.6312 | 4.2128
22,01,2009 | 9:09 | 0.013 | 13
22,01,2009 | 9:10 | 0.015 | 15
22,01,2009 | 9:11 | 0.016 | 16
22,01,2009 | 9:12 | 0.013 | 13
22,01,2009 | 9:13 | 0.013 | 13
22,01,2009 | 9:14 | 0.013 | 13
22,01,2009 | 9:15 | 0.013 | 13
22,01,2009 | 9:16 | 0.013 | 13
22,01,2009 | 9:17 | 0.012 | 12
22,01,2009 | 9:18 | 0.012 | 12
22,01,2009 | 9:19 | 0.011 | 11
22,01,2009 | 9:20 | 0.012 | 12
22,01,2009 | 9:21 | 0.01 | 10
22,01,2009 | 9:22 | 0.01 | 10
22,01,2009 | 9:23 | 0.01 | 10
22,01,2009 | 9:24 | 0.011 | 11
22,01,2009 | 9:25 | 0.01 | 10
22,01,2009 | 9:26 | 0.01 | 10
22,01,2009 | 9:27 | 0.01 | 10
22,01,2009 | 9:28 | 0.01 | 10
22,01,2009 | 9:29 | 0.012 | 12
22,01,2009 | 9:30 | 0.011 | 11
22,01,2009 | 9:31 | 0.011 | 11
22,01,2009 | 9:32 | 0.01 | 10
22,01,2009 | 9:33 | 0.009 | 9
22,01,2009 | 9:34 | 0.01 | 10
22,01,2009 | 9:35 | 0.01 | 10
22,01,2009 | 9:36 | 0.009 | 9
22,01,2009 | 9:37 | 0.009 | 9
22,01,2009 | 9:38 | 0.009 | 9
22,01,2009 | 9:39 | 0.01 | 10
22,01,2009 | 9:40 | 0.009 | 9
22,01,2009 | 9:41 | 0.011 | 11
22,01,2009 | 9:42 | 0.009 | 9
22,01,2009 | 9:43 | 0.01 | 10
22,01,2009 | 9:44 | 0.008 | 8
22,01,2009 | 9:45 | 0.008 | 8
22,01,2009 | 9:46 | 0.009 | 9
22,01,2009 | 9:47 | 0.008 | 8
22,01,2009 | 9:48 | 0.008 | 8
22,01,2009 | 9:49 | 0.008 | 8
22,01,2009 | 9:50 | 0.008 | 8
22,01,2009 | 9:51 | 0.008 | 8
22,01,2009 | 9:52 | 0.008 | 8
22,01,2009 | 9:53 | 0.009 | 9
22,01,2009 | 9:54 | 0.008 | 8
22,01,2009 | 9:55 | 0.008 | 8
22,01,2009 | 9:56 | 0.009 | 9
22,01,2009 | 9:57 | 0.008 | 8
22,01,2009 | 9:58 | 0.009 | 9
22,01,2009 | 9:59 | 0.008 | 8
22,01,2009 | 10:00 | 0.008 | 8
22,01,2009 | 10:01 | 0.008 | 8
22,01,2009 | 10:02 | 0.008 | 8
22,01,2009 | 10:03 | 0.008 | 8
22,01,2009 | 10:04 | 0.009 | 9
22,01,2009 | 10:05 | 0.009 | 9
22,01,2009 | 10:06 | 0.009 | 9
22,01,2009 | 10:07 | 0.008 | 8
22,01,2009 | 10:08 | 0.008 | 8
22,01,2009 | 10:09 | 0.008 | 8
22,01,2009 | 10:10 | 0.008 | 8
22,01,2009 | 10:11 | 0.009 | 9
22,01,2009 | 10:12 | 0.008 | 8
22,01,2009 | 10:13 | 0.008 | 8
22,01,2009 | 10:14 | 0.009 | 9
22,01,2009 | 10:15 | 0.008 | 8
22,01,2009 | 10:16 | 0.009 | 9
22,01,2009 | 10:17 | 0.009 | 9
22,01,2009 | 10:18 | 0.009 | 9
22,01,2009 | 10:19 | 0.009 | 9
22,01,2009 | 10:20 | 0.009 | 9
22,01,2009 | 10:21 | 0.009 | 9
22,01,2009 | 10:22 | 0.009 | 9
22,01,2009 | 10:23 | 0.009 | 9
22,01,2009 | 10:24 | 0.009 | 9
22,01,2009 | 10:25 | 0.01 | 10
22,01,2009 | 10:26 | 0.009 | 9
22,01,2009 | 10:27 | 0.008 | 8
22,01,2009 | 10:28 | 0.008 | 8
22,01,2009 | 10:29 | 0.008 | 8
22,01,2009 | 10:30 | 0.008 | 8
22,01,2009 | 10:31 | 0.009 | 9
22,01,2009 | 10:32 | 0.008 | 8
22,01,2009 | 10:33 | 0.009 | 9
22,01,2009 | 10:34 | 0.009 | 9
22,01,2009 | 10:35 | 0.009 | 9
22,01,2009 | 10:36 | 0.009 | 9
22,01,2009 | 10:37 | 0.009 | 9
22,01,2009 | 10:38 | 0.009 | 9
22,01,2009 | 10:39 | 0.009 | 9
22,01,2009 | 10:40 | 0.009 | 9
22,01,2009 | 10:41 | 0.009 | 9
22,01,2009 | 10:42 | 0.009 | 9
22,01,2009 | 10:43 | 0.009 | 9
22,01,2009 | 10:44 | 0.009 | 9
22,01,2009 | 10:45 | 0.009 | 9
22,01,2009 | 10:46 | 0.009 | 9
22,01,2009 | 10:47 | 0.009 | 9
22,01,2009 | 10:48 | 0.01 | 10
22,01,2009 | 10:49 | 0.011 | 11
22,01,2009 | 10:50 | 0.012 | 12
22,01,2009 | 10:51 | 0.012 | 12
22,01,2009 | 10:52 | 0.013 | 13
22,01,2009 | 10:53 | 0.013 | 13
22,01,2009 | 10:54 | 0.012 | 12
22,01,2009 | 10:55 | 0.013 | 13
22,01,2009 | 10:56 | 0.013 | 13
22,01,2009 | 10:57 | 0.012 | 12
22,01,2009 | 10:58 | 0.012 | 12
22,01,2009 | 10:59 | 0.015 | 15
22,01,2009 | 11:00 | 0.012 | 12
22,01,2009 | 11:01 | 0.012 | 12
22,01,2009 | 11:02 | 0.012 | 12
22,01,2009 | 11:03 | 0.011 | 11
22,01,2009 | 11:04 | 0.012 | 12
22,01,2009 | 11:05 | 0.013 | 13
22,01,2009 | 11:06 | 0.012 | 12
22,01,2009 | 11:07 | 0.011 | 11
22,01,2009 | 11:08 | 0.012 | 12
22,01,2009 | 11:09 | 0.011 | 11
22,01,2009 | 11:10 | 0.011 | 11
22,01,2009 | 11:11 | 0.01 | 10
22,01,2009 | 11:12 | 0.01 | 10
22,01,2009 | 11:13 | 0.011 | 11
22,01,2009 | 11:14 | 0.011 | 11
22,01,2009 | 11:15 | 0.01 | 10
22,01,2009 | 11:16 | 0.01 | 10
22,01,2009 | 11:17 | 0.012 | 12
22,01,2009 | 11:18 | 0.01 | 10
22,01,2009 | 11:19 | 0.012 | 12
22,01,2009 | 11:20 | 0.009 | 9
22,01,2009 | 11:21 | 0.012 | 12
22,01,2009 | 11:22 | 0.009 | 9
22,01,2009 | 11:23 | 0.009 | 9
22,01,2009 | 11:24 | 0.01 | 10
22,01,2009 | 11:25 | 0.009 | 9
22,01,2009 | 11:26 | 0.01 | 10
22,01,2009 | 11:27 | 0.008 | 8
22,01,2009 | 11:28 | 0.008 | 8
22,01,2009 | 11:29 | 0.008 | 8
22,01,2009 | 11:30 | 0.008 | 8
22,01,2009 | 11:31 | 0.008 | 8
22,01,2009 | 11:32 | 0.01 | 10
22,01,2009 | 11:33 | 0.008 | 8
22,01,2009 | 11:34 | 0.008 | 8
22,01,2009 | 11:35 | 0.007 | 7
22,01,2009 | 11:36 | 0.007 | 7
22,01,2009 | 11:37 | 0.007 | 7
22,01,2009 | 11:38 | 0.008 | 8
22,01,2009 | 11:39 | 0.007 | 7
22,01,2009 | 11:40 | 0.007 | 7
22,01,2009 | 11:41 | 0.007 | 7
22,01,2009 | 11:42 | 0.007 | 7
22,01,2009 | 11:43 | 0.009 | 9
22,01,2009 | 11:44 | 0.007 | 7
22,01,2009 | 11:45 | 0.007 | 7
22,01,2009 | 11:46 | 0.007 | 7
22,01,2009 | 11:47 | 0.006 | 6
22,01,2009 | 11:48 | 0.006 | 6
22,01,2009 | 11:49 | 0.006 | 6
22,01,2009 | 11:50 | 0.007 | 7
22,01,2009 | 11:51 | 0.007 | 7
22,01,2009 | 11:52 | 0.006 | 6
22,01,2009 | 11:53 | 0.007 | 7
22,01,2009 | 11:54 | 0.006 | 6
22,01,2009 | 11:55 | 0.006 | 6
22,01,2009 | 11:56 | 0.008 | 8
22,01,2009 | 11:57 | 0.006 | 6
22,01,2009 | 11:58 | 0.006 | 6
22,01,2009 | 11:59 | 0.006 | 6
22,01,2009 | 12:00 | 0.006 | 6
22,01,2009 | 12:01 | 0.006 | 6
22,01,2009 | 12:02 | 0.006 | 6
22,01,2009 | 12:03 | 0.006 | 6
22,01,2009 | 12:04 | 0.006 | 6
22,01,2009 | 12:05 | 0.006 | 6
22,01,2009 | 12:06 | 0.006 | 6
22,01,2009 | 12:07 | 0.006 | 6
22,01,2009 | 12:08 | 0.006 | 6
22,01,2009 | 12:09 | 0.006 | 6
22,01,2009 | 12:10 | 0.006 | 6
22,01,2009 | 12:11 | 0.006 | 6
22,01,2009 | 12:12 | 0.006 | 6
22,01,2009 | 12:13 | 0.006 | 6
22,01,2009 | 12:14 | 0.005 | 5
22,01,2009 | 12:15 | 0.006 | 6
22,01,2009 | 12:16 | 0.006 | 6
22,01,2009 | 12:17 | 0.005 | 5
22,01,2009 | 12:18 | 0.006 | 6
22,01,2009 | 12:19 | 0.005 | 5
22,01,2009 | 12:20 | 0.005 | 5
22,01,2009 | 12:21 | 0.005 | 5
22,01,2009 | 12:22 | 0.005 | 5
22,01,2009 | 12:23 | 0.005 | 5
22,01,2009 | 12:24 | 0.005 | 5
22,01,2009 | 12:25 | 0.006 | 6
22,01,2009 | 12:26 | 0.005 | 5
22,01,2009 | 12:27 | 0.005 | 5
22,01,2009 | 12:28 | 0.005 | 5
22,01,2009 | 12:29 | 0.005 | 5
22,01,2009 | 12:30 | 0.005 | 5
22,01,2009 | 12:31 | 0.005 | 5
22,01,2009 | 12:32 | 0.005 | 5
22,01,2009 | 12:33 | 0.005 | 5
22,01,2009 | 12:34 | 0.005 | 5
22,01,2009 | 12:35 | 0.005 | 5
22,01,2009 | 12:36 | 0.005 | 5
22,01,2009 | 12:37 | 0.005 | 5
22,01,2009 | 12:38 | 0.005 | 5
22,01,2009 | 12:39 | 0.005 | 5
22,01,2009 | 12:40 | 0.005 | 5
22,01,2009 | 12:41 | 0.005 | 5
22,01,2009 | 12:42 | 0.005 | 5
22,01,2009 | 12:43 | 0.005 | 5
22,01,2009 | 12:44 | 0.005 | 5
22,01,2009 | 12:45 | 0.005 | 5
22,01,2009 | 12:46 | 0.005 | 5
22,01,2009 | 12:47 | 0.005 | 5
22,01,2009 | 12:48 | 0.005 | 5
22,01,2009 | 12:49 | 0.005 | 5
22,01,2009 | 12:50 | 0.004 | 4
22,01,2009 | 12:51 | 0.005 | 5
22,01,2009 | 12:52 | 0.005 | 5
22,01,2009 | 12:53 | 0.005 | 5
22,01,2009 | 12:54 | 0.004 | 4
22,01,2009 | 12:55 | 0.004 | 4
22,01,2009 | 12:56 | 0.005 | 5
22,01,2009 | 12:57 | 0.005 | 5
22,01,2009 | 12:58 | 0.004 | 4
22,01,2009 | 12:59 | 0.004 | 4
22,01,2009 | 13:00 | 0.004 | 4
22,01,2009 | 13:01 | 0.005 | 5
22,01,2009 | 13:02 | 0.004 | 4
22,01,2009 | 13:03 | 0.004 | 4
22,01,2009 | 13:04 | 0.004 | 4
22,01,2009 | 13:05 | 0.004 | 4
22,01,2009 | 13:06 | 0.004 | 4
22,01,2009 | 13:07 | 0.004 | 4
22,01,2009 | 13:08 | 0.004 | 4
22,01,2009 | 13:09 | 0.004 | 4
22,01,2009 | 13:10 | 0.004 | 4
22,01,2009 | 13:11 | 0.004 | 4
22,01,2009 | 13:12 | 0.004 | 4
22,01,2009 | 13:13 | 0.004 | 4
22,01,2009 | 13:14 | 0.004 | 4
22,01,2009 | 13:15 | 0.004 | 4
22,01,2009 | 13:16 | 0.004 | 4
22,01,2009 | 13:17 | 0.004 | 4
22,01,2009 | 13:18 | 0.004 | 4
22,01,2009 | 13:19 | 0.004 | 4
22,01,2009 | 13:20 | 0.004 | 4
22,01,2009 | 13:21 | 0.004 | 4
22,01,2009 | 13:22 | 0.004 | 4
22,01,2009 | 13:23 | 0.004 | 4
22,01,2009 | 13:24 | 0.004 | 4
22,01,2009 | 13:25 | 0.004 | 4
22,01,2009 | 13:26 | 0.004 | 4
22,01,2009 | 13:27 | 0.004 | 4
22,01,2009 | 13:28 | 0.004 | 4
22,01,2009 | 13:29 | 0.004 | 4
22,01,2009 | 13:30 | 0.003 | 3
22,01,2009 | 13:31 | 0.004 | 4
22,01,2009 | 13:32 | 0.004 | 4
22,01,2009 | 13:33 | 0.003 | 3
22,01,2009 | 13:34 | 0.003 | 3
22,01,2009 | 13:35 | 0.004 | 4
22,01,2009 | 13:36 | 0.003 | 3
22,01,2009 | 13:37 | 0.003 | 3
22,01,2009 | 13:38 | 0.003 | 3
22,01,2009 | 13:39 | 0.003 | 3
22,01,2009 | 13:40 | 0.004 | 4
22,01,2009 | 13:41 | 0.004 | 4
22,01,2009 | 13:42 | 0.009 | 9
22,01,2009 | 13:43 | 0.005 | 5
22,01,2009 | 13:44 | 0.006 | 6
22,01,2009 | 13:45 | 0.006 | 6
22,01,2009 | 13:46 | 0.004 | 4
22,01,2009 | 13:47 | 0.004 | 4
22,01,2009 | 13:48 | 0.005 | 5
22,01,2009 | 13:49 | 0.004 | 4
22,01,2009 | 13:50 | 0.004 | 4
22,01,2009 | 13:51 | 0.004 | 4
22,01,2009 | 13:52 | 0.004 | 4
22,01,2009 | 13:53 | 0.004 | 4
22,01,2009 | 13:54 | 0.004 | 4
22,01,2009 | 13:55 | 0.004 | 4
22,01,2009 | 13:56 | 0.004 | 4
22,01,2009 | 13:57 | 0.003 | 3
22,01,2009 | 13:58 | 0.003 | 3
22,01,2009 | 13:59 | 0.004 | 4
22,01,2009 | 14:00 | 0.003 | 3
22,01,2009 | 14:01 | 0.004 | 4
22,01,2009 | 14:02 | 0.003 | 3
22,01,2009 | 14:03 | 0.004 | 4
22,01,2009 | 14:04 | 0.003 | 3
22,01,2009 | 14:05 | 0.003 | 3
22,01,2009 | 14:06 | 0.003 | 3
22,01,2009 | 14:07 | 0.003 | 3
22,01,2009 | 14:08 | 0.003 | 3
22,01,2009 | 14:09 | 0.003 | 3
22,01,2009 | 14:10 | 0.004 | 4
22,01,2009 | 14:11 | 0.003 | 3
22,01,2009 | 14:12 | 0.003 | 3
22,01,2009 | 14:13 | 0.003 | 3
22,01,2009 | 14:14 | 0.003 | 3
22,01,2009 | 14:15 | 0.003 | 3
22,01,2009 | 14:16 | 0.003 | 3
22,01,2009 | 14:17 | 0.003 | 3
22,01,2009 | 14:18 | 0.004 | 4
22,01,2009 | 14:19 | 0.003 | 3
22,01,2009 | 14:20 | 0.003 | 3
22,01,2009 | 14:21 | 0.003 | 3
22,01,2009 | 14:22 | 0.003 | 3
22,01,2009 | 14:23 | 0.003 | 3
22,01,2009 | 14:24 | 0.003 | 3
22,01,2009 | 14:25 | 0.003 | 3
22,01,2009 | 14:26 | 0.003 | 3
22,01,2009 | 14:27 | 0.004 | 4
22,01,2009 | 14:28 | 0.004 | 4
22,01,2009 | 14:29 | 0.005 | 5
22,01,2009 | 14:30 | 0.005 | 5
22,01,2009 | 14:31 | 0.004 | 4
22,01,2009 | 14:32 | 0.005 | 5
22,01,2009 | 14:33 | 0.003 | 3
22,01,2009 | 14:34 | 0.003 | 3
22,01,2009 | 14:35 | 0.004 | 4
22,01,2009 | 14:36 | 0.004 | 4
22,01,2009 | 14:37 | 0.006 | 6
22,01,2009 | 14:38 | 0.004 | 4
22,01,2009 | 14:39 | 0.005 | 5
22,01,2009 | 14:40 | 0.006 | 6
22,01,2009 | 14:41 | 0.005 | 5
22,01,2009 | 14:42 | 0.005 | 5
22,01,2009 | 14:43 | 0.004 | 4
22,01,2009 | 14:44 | 0.006 | 6
22,01,2009 | 14:45 | 0.004 | 4
22,01,2009 | 14:46 | 0.004 | 4
22,01,2009 | 14:47 | 0.004 | 4
22,01,2009 | 14:48 | 0.005 | 5
22,01,2009 | 14:49 | 0.004 | 4
22,01,2009 | 14:50 | 0.004 | 4
22,01,2009 | 14:51 | 0.004 | 4
22,01,2009 | 14:52 | 0.004 | 4
22,01,2009 | 14:53 | 0.005 | 5
22,01,2009 | 14:54 | 0.004 | 4
22,01,2009 | 14:55 | 0.005 | 5
22,01,2009 | 14:56 | 0.003 | 3
22,01,2009 | 14:57 | 0.004 | 4
22,01,2009 | 14:58 | 0.003 | 3
22,01,2009 | 14:59 | 0.003 | 3
22,01,2009 | 15:00 | 0.004 | 4
22,01,2009 | 15:01 | 0.004 | 4
22,01,2009 | 15:02 | 0.004 | 4
22,01,2009 | 15:03 | 0.003 | 3
22,01,2009 | 15:04 | 0.005 | 5
22,01,2009 | 15:05 | 0.004 | 4
22,01,2009 | 15:06 | 0.003 | 3
22,01,2009 | 15:07 | 0.004 | 4
22,01,2009 | 15:08 | 0.004 | 4
22,01,2009 | 15:09 | 0.003 | 3
22,01,2009 | 15:10 | 0.006 | 6
22,01,2009 | 15:11 | 0.004 | 4
22,01,2009 | 15:12 | 0.004 | 4
22,01,2009 | 15:13 | 0.005 | 5
22,01,2009 | 15:14 | 0.005 | 5
22,01,2009 | 15:15 | 0.004 | 4
22,01,2009 | 15:16 | 0.004 | 4
22,01,2009 | 15:17 | 0.004 | 4
22,01,2009 | 15:18 | 0.005 | 5
22,01,2009 | 15:19 | 0.004 | 4
22,01,2009 | 15:20 | 0.005 | 5
22,01,2009 | 15:21 | 0.009 | 9
22,01,2009 | 15:22 | 0.005 | 5
22,01,2009 | 15:23 | 0.004 | 4
22,01,2009 | 15:24 | 0.005 | 5
22,01,2009 | 15:25 | 0.004 | 4
22,01,2009 | 15:26 | 0.006 | 6
22,01,2009 | 15:27 | 0.005 | 5
22,01,2009 | 15:28 | 0.006 | 6
22,01,2009 | 15:29 | 0.004 | 4
22,01,2009 | 15:30 | 0.004 | 4
22,01,2009 | 15:31 | 0.004 | 4
22,01,2009 | 15:32 | 0.005 | 5
22,01,2009 | 15:33 | 0.003 | 3
22,01,2009 | 15:34 | 0.004 | 4
22,01,2009 | 15:35 | 0.005 | 5
22,01,2009 | 15:36 | 0.004 | 4
22,01,2009 | 15:37 | 0.003 | 3
22,01,2009 | 15:38 | 0.005 | 5
22,01,2009 | 15:39 | 0.004 | 4
22,01,2009 | 15:40 | 0.004 | 4
22,01,2009 | 15:41 | 0.005 | 5
22,01,2009 | 15:42 | 0.003 | 3
22,01,2009 | 15:43 | 0.005 | 5
22,01,2009 | 15:44 | 0.003 | 3
22,01,2009 | 15:45 | 0.003 | 3
22,01,2009 | 15:46 | 0.003 | 3
22,01,2009 | 15:47 | 0.003 | 3
22,01,2009 | 15:48 | 0.003 | 3
22,01,2009 | 15:49 | 0.003 | 3
22,01,2009 | 15:50 | 0.004 | 4
22,01,2009 | 15:51 | 0.003 | 3
22,01,2009 | 15:52 | 0.003 | 3
22,01,2009 | 15:53 | 0.004 | 4
22,01,2009 | 15:54 | 0.003 | 3
22,01,2009 | 15:55 | 0.003 | 3
22,01,2009 | 15:56 | 0.003 | 3
22,01,2009 | 15:57 | 0.004 | 4
22,01,2009 | 15:58 | 0.004 | 4
22,01,2009 | 15:59 | 0.003 | 3
22,01,2009 | 16:00 | 0.004 | 4
22,01,2009 | 16:01 | 0.004 | 4
22,01,2009 | 16:02 | 0.006 | 6
22,01,2009 | 16:03 | 0.006 | 6
22,01,2009 | 16:04 | 0.004 | 4
22,01,2009 | 16:05 | 0.004 | 4
22,01,2009 | 16:06 | 0.003 | 3
22,01,2009 | 16:07 | 0.004 | 4
22,01,2009 | 16:08 | 0.003 | 3
22,01,2009 | 16:09 | 0.003 | 3
22,01,2009 | 16:10 | 0.004 | 4
22,01,2009 | 16:11 | 0.004 | 4
22,01,2009 | 16:12 | 0.005 | 5
22,01,2009 | 16:13 | 0.003 | 3
22,01,2009 | 16:14 | 0.003 | 3
22,01,2009 | 16:15 | 0.003 | 3
22,01,2009 | 16:16 | 0.004 | 4
22,01,2009 | 16:17 | 0.004 | 4
22,01,2009 | 16:18 | 0.003 | 3
22,01,2009 | 16:19 | 0.005 | 5
22,01,2009 | 16:20 | 0.004 | 4
22,01,2009 | 16:21 | 0.003 | 3
22,01,2009 | 16:22 | 0.003 | 3
22,01,2009 | 16:23 | 0.003 | 3
22,01,2009 | 16:24 | 0.004 | 4
22,01,2009 | 16:25 | 0.003 | 3
22,01,2009 | 16:26 | 0.003 | 3
22,01,2009 | 16:27 | 0.002 | 2
22,01,2009 | 16:28 | 0.004 | 4
22,01,2009 | 16:29 | 0.004 | 4
22,01,2009 | 16:30 | 0.002 | 2
22,01,2009 | 16:31 | 0.002 | 2
22,01,2009 | 16:32 | 0.003 | 3
22,01,2009 | 16:33 | 0.003 | 3
22,01,2009 | 16:34 | 0.003 | 3
22,01,2009 | 16:35 | 0.002 | 2
22,01,2009 | 16:36 | 0.003 | 3
22,01,2009 | 16:37 | 0.002 | 2
22,01,2009 | 16:38 | 0.002 | 2
22,01,2009 | 16:39 | 0.002 | 2
22,01,2009 | 16:40 | 0.002 | 2
22,01,2009 | 16:41 | 0.002 | 2
22,01,2009 | 16:42 | 0.002 | 2
22,01,2009 | 16:55 | 0.002 | 2
22,01,2009 | 16:56 | 0.003 | 3